# Day 1 Electrical Model

## System

Grid: 11 kV

Transformer: 11/0.415 kV

Transformer rating: 1 MVA

LV bus: 415 V

Frequency: 50 Hz

## Loads

Motor 1: 200 kW, PF 0.85

Motor 2: 150 kW, PF 0.82

Pump: 100 kW, PF 0.88

Compressor: 120 kW, PF 0.86

Auxiliary: 80 kW, PF 0.95

## Important Equations

P = sqrt(3) V I PF

Q = P tan(phi)

phi = acos(PF)

S = sqrt(P^2 + Q^2)

PF = P/S

I = P/(sqrt(3)V PF)

## Day 1 Completed

- Python installed

- VS Code installed

- Virtual environment created

- NumPy installed

- Pandas installed

- Matplotlib installed

- Load dataset created

- Python load analysis created

- MATLAB load analysis created

- Python/MATLAB results compared

- Initial system diagram created